{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":21,"n_cols":7,"rows_kept":21,"merged":[[0,0,0,6],[1,0,1,6]],"flags":["formulas_cached_only"]}
["投标报价单"]
["项目名称：广西壮族自治区港航发展中心办公楼地下车库排烟管道系统维修施工项目"]
["序号","项目名称","单位","工程量","投标单价(元)","投标合价(元)","控制价上限单价(元)"]
["一","抬高改造汽车通道上方排烟管"]
[1,"拆卸及改造上方喷淋管道","项",1,null,null,{"v":800,"d":"800.00"}]
[2,"拆卸原排烟管","工日",3,null,null,{"v":300,"d":"300.00"}]
[3,"镀锌铁质风管","㎡",28,null,null,{"v":75,"d":"75.00"}]
[4,"采购及制作镀锌铁质风管管件弯头等","套",4,null,null,{"v":250,"d":"250.00"}]
[5,"安装镀锌铁质排烟风管","工日",4,null,null,{"v":300,"d":"300.00"}]
["二","更新地下室排烟风管"]
[1,"拆卸原支吊架47套","工日",4,null,null,{"v":300,"d":"300.00"}]
[2,"拆卸排风管","工日",12,null,null,{"v":300,"d":"300.00"}]
[3,"镀锌角钢(40*40*4)","kg",388,null,null,{"v":7,"d":"7.00"}]
[4,"制作排烟风管支吊架","套",47,null,null,{"v":40,"d":"40.00"}]
[5,"安装排烟风管支吊架","工日",20,null,null,{"v":300,"d":"300.00"}]
[6,"镀锌铁质风管","㎡",750,null,null,{"v":75,"d":"75.00"}]
[7,"安装镀锌铁质排烟风管","工日",10,null,null,{"v":300,"d":"300.00"}]
["三","消防电机房设备维护"]
[1,"拆除、更换新排烟风机","台",1,null,null,{"v":7000,"d":"7000.00"}]
[2,"维修排烟风机控制柜","台",1,null,null,{"v":300,"d":"300.00"}]
["四","其他费用（管理费、税金、保险等）","项",1]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}